| - | National Institute of Technology, Raipur |
| --- | --- |

INVITATION LETTER

| Package Code: TEQIP-III/nitr/33 | Current Date: 17-May-2019 |
| --- | --- |
| Package Name: GII-09 | Method: Shopping Goods |

To,

Sub: INVITATION LETTER FOR GII-09

Dear Sir,

| 1. | You are invited to submit your most competitive quotation for the following goods with item wise detailed specifications given at Annexure I, |
| --- | --- |

| Sr. No | Item Name | Quantity | Place of Delivery | Installation Requirement (if any) |
| --- | --- | --- | --- | --- |
| 1 | Light weight deflectometer with lateral Geophones and equipped with Desktop/Computer loaded with LWDmod Software (I License) | 1 | NIT Raipur | Yes |

| 2. |  | Government of India has received a credit from the International Development Association (IDA) towards the cost of the Technical Education Quality Improvement Programme [TEQIP]-Phase III Project and intends to apply part of the proceeds of this credit to eligible payments under the contract for which this invitation for quotations is issued. |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 3. |  | Quotation |  |  |  |
|  |  | 3.1 |  |  | The contract shall be for the full quantity as described above. |
|  |  | 3.2 |  |  | Corrections, if any, shall be made by crossing out, initialling, dating and re writing. |
|  |  | 3.3 |  |  | All duties and other levies payable by the supplier under the contract shall be included in the unit Price. |
|  |  | 3.4 |  |  | Applicable taxes shall be quoted separately for all items. |
|  |  | 3.5 |  |  | The prices quoted by the bidder shall be fixed for the duration of the contract and shall not be subject to adjustment on any account. |
|  |  | 3.6 |  |  | The Prices should be quoted in Indian Rupees only. |
| 4. |  | Each bidder shall submit only one quotation. |  |  |  |
| 5. |  | Quotation shall remain valid for a period not less than 55days after the last date of quotation submission. |  |  |  |
| 6. |  | Evaluation of Quotations: The Purchaser will evaluate and compare the quotations determined to be Substantially responsive i.e. which |  |  |  |
|  |  | 6.1 |  | are properly signed; and |  |
|  |  | 6.2 |  | Confirm to the terms and conditions, and specifications 6.3 The Tenderer / Bidder need to submit the following certificates along with the quotation to * Confirm their eligibility: * Proof of establishment of Firms/shop/business/manufacturing unit etc. and Dealership certificate from the principals etc. * GST certificate should be enclosed *Previous Purchase order copy. |  |
| 7. |  | The Quotations would be evaluated for all items together. |  |  |  |
| 8. |  | - * As per government notification No.45/2017-Central Tax (rate), dated 14 Nov 2017, NIT Raipur is eligible to get concessional GST rate of 5% on purchase of equipment mentioned in Notification used for research purpose only. In this regard NIT Raipur will be providing following mentioned documents for concession : a. DSIR Certificate Copy; b. Certificate to supplier for purpose of GST Concession (on the Institute's Letter Head). |  |  |  |
| 9. |  | Award of contract The Purchaser will award the contract to the bidder whose quotation has been determined to be substantially responsive and who has offered the lowest evaluated quotation price. 9.1 Notwithstanding the above, the Purchaser reserves the right to accept or reject any quotations and to cancel the bidding process and reject all quotations at any time prior to the award of Contract. 9.2 The bidder whose bid is accepted will be notified of the award of contract by the Purchaser prior to expiration of the quotation validity period. The terms of the accepted offer shall be incorporated in the purchase order. 10. Payment shall be made in Indian Rupees as follows: |  |  |  |
|  |  |  | Delivery and Installation - 0% of total cost Satisfactory Acceptance - 100% of total cost |  |  |
| 11. |  |  | Liquidated Damages will be applied as per the below: -Maximum one month extension in delivery period may be given on the receipt of written request of the successful vendor; however liquidated damage at the rate of 5% per month or part thereof will be recovered from the firm of the value of undelivered goods. Request for extension in delivery period should be made before the last date of supply as mentioned in purchase order. |  |  |  |
| 12. |  |  | All supplied items are under warranty of 24 months from the date of successful acceptance of items and AMC/Others is . |  |  |  |
| 13. |  |  | You are requested to provide your offer latest by 15:00 hours on 17-June-2019. |  |  |  |
| 14. |  |  | Detailed specifications of the items are at Annexure I. |  |  |
| 15. |  |  | Training Clause (if any) Yes |  |  |
| 16. |  |  | Testing/Installation Clause (if any) yes |  |  |
| 17. |  |  | Performance Security shall be applicable: Performance Security (PS):The successful bidder has to furnish “Performance Security of 10% of the ordered value in Indian Rupee”, in the form of Account Payee Demand Draft, / Fixes deposit and/or unconditional Bank guarantee en-cashable on demand from the Director, NIT, Raipur, from a nationalized Bank with validity period of sixty (60)days beyond the date of completion of all contractual obligations of supplier including guarantee/ warranty obligations. The Performance Security is to be furnished in favor of the Director, National Institute of Technology, Raipur, within ten days of intimation. The performance security will be discharged by the Purchaser and returned to the Supplier not later than 60 days following the date of completion of the Supplier's performance obligations, including any warranty obligations. |  |  |
| 18. |  |  | Information brochures/ Product catalogue, if any must be accompanied with the quotation clearly indicating the model quoted for. |  |  |
| 19. |  |  | Sealed quotation to be submitted/ delivered at the address mentioned below, Registrar National Institute of Technology, Raipur, G E Road, Raipur 492010 |  |  |
|  | 20.. | We look forward to receiving your quotation and thank you for your interest in this project. |  |  |  |

Registrar

NIT Raipur

Annexure I

| Sr. No | Item Name | Specifications |
| --- | --- | --- |
| 1 | Light weight deflectometer with lateral Geophones and equipped with Desktop/Computer loaded with LWDmod Software (I License) | Name of the Equipment: Light weight deflectometer with lateral Geophones, software and Desktop/computer Name of the Laboratory: Transportation Engineering Detailed Specifications: - Equipment - The LWD electronics is interfaced with a wireless Bluetooth connection to any GPS device - The LWD electronics is dust and splash proof (IP56) for safe outdoor use. - The drop height is easily and quickly adjusted by a movable release handle. - A Drop weights of 10 kg, 15 kg and 20 kg capable of being raised to a predetermined height, and when dropped guided by a suitable low resistance rod, to impart a controlled force to the loading plate. The resulting force pulse transmitted to the pavement shall be capable of providing a half-sine or haversine shaped load pulse, with a time of loading of between 20 and 40 millisecond or better. The spring element is a series of rubber cones or cylindrical pad system. - A laser engraved scale on the weight guide shaft allows for easy setting of the desired drop height. - An integrated lever to ensure the centre geophone is correctly centered and seated. A complete setup equipped with two additional lateral geophones. - A precision load cell measures the peak value of the impact force for different drop weight such as 20 kg, 15 kg and 10 kg. A load cell, used to measure the applied load of each impact, with a precision of ±0.1 kN or better. - A deflection sensor, capable of measuring the maximum vertical movement, to a precision of +/- 2 μm. The calibrated working range should be 0 to 2000 μm (2mm). - The loading plate diameter can quickly and easily be switched. Load plate diameter should be 150mm (01 no.), 300mm (01 no.), 100 mm (01 no.) - The measured data can be used to back-calculate layer module and confirm layer thickness through processing & analysis software. - Data transferring facility to any Android/Windows based PDA through Bluetooth. - The system should be powered by a pack of four AA alkaline or rechargeable batteries, providing 1000 measurements or 12 hours of continuous operation. - Technical Specifications of Software: - The data collection software for Android based/Windows based residing in the PDA displays the E-modulus of the surface and the time history graph from both the deflection sensor and the load sensor on the PDA screen, in real time. - Relevant information such as name, place and comments can be added to the data file for each measuring point. - The E-modulus is calculated and displayed. - The measurement data can be printed as a report or can be transferred for further processing in spreadsheet or text form. The data can further be edited and exported to MS Word and MS Excel. - Graphical features to view test results, and to eliminate selected drops or points from the file. - Automated selection of drops to be used in the analysis. - Estimation of layer thicknesses & Calculation of surface module. - Back-calculation of layer module for multi-layer systems, using the results of multiple tests. - Calculation of sub-grade non-linearity. - Analysis of load/deflection time histories. - Graphical presentation of all analysis results. - Accessories with LWD - Dual Plate System (DPS – comprising of a 300mm and a 150mm diameter plate) - 100mm plate, 150 mm and 300 mm plate - Ribbed rubber mat - load plate centre hole plug - 10 kg, 15 kg, 20 kg drop weights - Transportation box for the standard equipment - Transportation trolley - Software: LWDmod for 1 license, ordered with LWD - Two Additional lateral geophones. The complete equipment with all necessary accessories shall fulfill the standard specifications of ASTM E2583 − 07 (Reapproved 2015) - Desktop /Computer - LED Monitor 22’’ Inches with Built-in speakers - CPU: 8 GB RAM; 1 TB Harddisk drive (HDD); DVD R/W; i7 Processor (6th Generation/Latest); Keyboard and Mouse; Microsoft windows 10 Operating system (Licensed); Antivirus (3 Years single user with internet security) licensed;; License student version of Microsoft office 2016 (Latest), UPS (Upto 10 to 25mins backup), Built-in Wifi device, Graphic Card 2 GB. Compatible with handling all technical software related to transportation engineering. |

FORMAT FOR QUOTATION SUBMISSION

(In letterhead of the supplier with seal)

Date: _______________

To:

____________________________

____________________________

| Sl. No. | Description of goods (with full Specifications) | Qty. | Unit | Quoted Unit rate in Rs. (Including Ex Factory price, excise duty, packing and forwarding, transportation, insurance, other local costs incidental to delivery and warranty/ guaranty commitments) | Total Price (A) | GST |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | GST taxes mentioned as under | Percentage (%) | In figures (B) |
|  |  |  |  |  |  | CGST |  |  |
|  |  |  |  |  |  | SGST |  |  |
|  |  |  |  |  |  | IGST |  |  |
| Total Cost |  |  |  |  |  | Total |  |  |

Gross Total Cost (A+B): Rs. ________________

We agree to supply the above goods in accordance with the technical specifications for a total contract price of Rs. ———————— (Amount in figures) (Rupees ————————amount in words) within the period specified in the Invitation for Quotations.

We confirm that the normal commercial warranty/ guarantee of ——————— months shall apply to the offered items and we also confirm to agree with terms and conditions as mentioned in the Invitation Letter.

We hereby certify that we have taken steps to ensure that no person acting for us or on our behalf will engage in bribery.

Signature of Supplier

Name: __________________

Address: __________________

Contact No: ______________